## Provnl Powerlinks Sept'18
| SEPTEMBER | Availability Calculation for the month of September 18 for Powerlink Lines in ER | [13 empty] | 2018
| Element Name | Attributable to PL |  | Attributable to Others |  | Act of God/Grid Incident |  | Outage Under the Category of Deemed available |  | Total Outage |  | Ti | TNAi | Wi (SIL*Ckt Km) | Wi(Ti-TNAi)/Ti | 100*Wi(Ti-TNAi)/(Ti*Wi)
|  | Hrs | Mins | Hrs | Mins | Hrs | Mins | Hrs | Min | Hrs | Min | Hrs | Hrs
| 400 KV NSLG-KSNE-I | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 720 | 0 | 64088.856 | 64088.856 | 100
| 400 KV NSLG-KSNE- II | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 0 | 64088.856 | 64088.856 | 100
| 400 KV KSNE-NPRN-I | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 720 | 0 | 45343.374 | 45343.374 | 100
| 400 KV KSNE-NPRN-II | 4 | 57 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 57 | 720 | 4.95 | 45343.374 | 45031.6383 | 99.3125
| 400 KV NPRN-MUZ-I | 5 | 41 | 7 | 17 | 0 | 0 | 0 | 0 | 12 | 58 | 712.7167 | 5.6833 | 125705.837 | 124703.4356 | 99.2026
| 400 KV NPRN-MUZ-II | 0 | 0 | 5 | 10 | 0 | 0 | 0 | 0 | 5 | 10 | 714.8333 | 0 | 125705.837 | 125705.837 | 100
| 220 KV MUZ-KANTI-I | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 0 | 3174.6 | 3174.6 | 100
| 220 KV MUZ-KANTI-II | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 720 | 0 | 3174.6 | 3174.6 | 100
|  | 9 | 98 | 12 | 27 | 0 | 0 | 0 | 0 | 21 | 125 | 5747.55 |  | 476625.334 | 475311.1969 | 798.5151
| Availability | 0.99724
% | Availability | 99.7243

## Sheet1
AVAILABILITY INDEX FOR SEPTEMBER -2018
a. Intra-regional element - ER
S.NO. | ELEMENT NAME | ELEMENT WISE AVAILABILITY ACHIEVED | TARGET AVAILABILITY AS PER SOP
TRANSMISSION LINES
1 | 400 KV NSLG-KSNE-I | 100% | 90%
2 | 400 KV NSLG-KSNE- II | 100% | 90%
3 | 400 KV KSNE-NPRN-I | 100% | 90%
4 | 400 KV KSNE-NPRN-II | 99.31% | 90%
5 | 400 KV NPRN-MUZ-I | 99.2% | 90%
6 | 400 KV NPRN-MUZ-II | 100% | 90%
7 | 220 KV MUZ-KANTI-I | 100% | 90%
8 | 220 KV MUZ-KANTI-II | 100% | 90%